Quick start guide single-cell analysis ImageJ plugin

Installation of ImageJ and plugin	2

Image analysis of raw data	4

Pre-processing	4

Post-processing	7

Measurement data	11

Exemplary data sets	11

Troubleshooting	11

# Installation of ImageJ and plugin

- Download current version of FIJI

http://jenkins.imagej.net/job/Stable-Fiji/lastSuccessfulBuild/artifact/fiji-win64.zip

- Unzip file

- Lunch fiji-win64.exe

- Add repository of the plugin to the ImageJ Updater as following:

ImageJ Updater window

- Go to Help->Update Fiji and wait till the ImageJ Updater windows opens.

- Press the button “Manager update sites”

- Add the URL “http://ibt-v707/static/helfrich/“ to the update sites using Add

- Press Close afterwards and Fiji will install the plugin

# Image analysis of raw data

## Pre-processing

- Export selected ND file as tif image series

| Export ND times series in NIS Elements |  | Select a folder for exporting the tif images |
| --- | --- | --- |

- Lunch Fiji if not done so already

- Import tif image series File->Import->Image Sequence

- Lunch single-cell analysis plugin Plugins->MASTER PLUGIN

- Select following options before running tool

- The tool is trying to automatically detect the cultivation chamber, if it couldn’t be detected you have to select it manually.

- Use the rectangular selection tool.

- To select the cultivation chamber as such:

- Afterwards click done and the plugin is going to detect and analysis the single cells in the frames

## Post-processing

After a couple of seconds the tool has detected various objects, not always cells, in each of the given frames. The detected objects are highlighted by yellowish curves and are listed in the ROI (region of interest) Manager. Furthermore, the number of cells and overall size of each frame is shown in the General Results windows.

| Imported images series |  | ROI Manager and General Results windows |
| --- | --- | --- |

Go through each of the frames and check if:

- only cells are detected and no other objects

| Wrong detected object |  | Delete wrong detected object |
| --- | --- | --- |

- that the cell was recognized entirely

| Cell was detected entirely, yellowish curve surround it completely. |  | Cell was not detected entirely, yellowish curve doesn’t surrounds it completely. |
| --- | --- | --- |

Use the Selection Brush Tool for altering the ROI, use the shortcut shift + left mouse click to enlarge the ROI to fit the entire cell shape. Merge ROI by pressing m on the keyboard.

By double clicking on the Selection Brush Tool let you change the size of the brush in pixels.

| Selection of brush tool for manual alteration of ROI area |  | After altering the ROI area with the brush tool press m to make the change permanent |
| --- | --- | --- |

- cells were separated correctly:

Use again the Selection Brush Tool and the key combination control + left mouse click to split the ROI in two separate ones. Split ROIs by pressing s on the keyboard.

| Not proper separated cells |  | Separated ROIs using the Selection Brush Tool. Press s on the keyboard to make the change permanent. |
| --- | --- | --- |

| Cell was wrogly seperated in two |  | By selecting both ROIs in the ROI Manger both can be rejoined by pressing m on the keyboard |
| --- | --- | --- |

- Select both RIOs in the RIO Manager and press m to merge them

# Measurement data

Save analysed images and ROIs first

- Save the tif image series as zip file using File->Save as->ZIP…

- Select all ROIs in the ROI Manger using the key combination ctrl + a and save them More -> Save …

Measure ROIs and export results

- Click on  to create a new General Results table.

- Save data using File->Save as …

# Exemplary data sets

You can find exemplary data sets containing pre-processed and segmented image series of Corynebacterium glutamicum and Escherichia coli here:

# Troubleshooting

Please report any issues regarding the plugin here: http://ibtmodsimhub/trac/ij-plugin/

You can log in with your normal user and issue a new ticket. Please try to describe your problem as detailed as possible.